# Proposal

Gryphon Companies, Inc.		Office	480.994.5500

Roofing Division		Fax 		480.994.1189

P.O. Box 7309

Tempe, AZ 85281			Estimator:	Brooks Bryce

License ROC # 137-495, Bonded, and Insured	Mobile #:	602)327-2829

Proposal submitted to					Phone				Date

Heywood Realty – Leah			480-820-1519		August 24, 2010

Street							Job Name

42 S. Hamilton Pl. #101			Marlborough Mesa Villas #2052

City, State, Zip Code					Job Location

Gilbert, AZ					2834 S. Extension    Mesa, AZ

We hereby submit specifications and estimates for:

This proposal applies to Apply a fresh coat of Elastomeric coating to all flat foam sections at #2052	.

1.     Sweep and/ or pressure wash all flat foam roof sections as necessary.

2.     Remove and haul away all debris.

3. Cut out all blisters / buckles, and fill in with a urethane caulking, includes all bird holes and cracks.

4.     Cut out all cracks in foam, glue back together with proper polyurethane sealant.

5.     Apply Elastomeric roof coating at the rate of 	2.5	 gallons per 100 sq. feet.  Color    WHITE

6.     Includes extra coverage on parapet walls.

7.     Provide a 2 year leak free warranty on all cracks repaired.

8.     Provide 	5    -year manufacturer’s warranty, (is not a leak free warranty).

Statement: 	  A fresh coat of Elastomeric roof coating will provide a 5yr UV protection condition for this roof.  However, all owners should be aware that foam roof systems do require a re-coat every 5 years.

We Propose hereby to furnish material & labor -- complete in accordance with above specifications, for the sum of:

Five Hundred Twenty Five Dollars And 00/100				$  525.00

Payment to be made as follows:					Sales tax: 	      30.88

0	% down,  	100	 % upon completion.  	     TOTAL: 	$  555.88

Acceptance of Proposal:  These prices, specifications and conditions are satisfactory and are hereby

accepted.  You are authorized to do the work as specified.  Payment will be made as outlined above.  Signature manifests

customer’s understanding and assent to Gryphon Companies, Inc.’s terms and conditions (see reverse).

Date of Acceptance

Customer						Authorized

Signature 						Signature